August 30, 2023

**Clarification II: Question and Answer**

**Ref: Bid #223-43 – Air Filters**

Grand Valley State University has received the following questions in regard to our request for proposal(s) for Air Filters. Please reference questions and answers listed below.

**Question 1** Would you be able to tell me if the following filters have a header on them or not and what the MERV rating is?

12 x 24 x 12

20 x 20 x 12

20 x 24 x 12

24 x 24 x 12

**Answer:** Yes, headers and MERV 11

**Question 2** Filter MERV ratings for the following air filter type(s) and size(s)?

**Answer:** 10x24x1 is a pleated MERV 10

14x20x2 is a pleated MERV 8

12x24x1 is a Purolator f312

16x20x1 is a Purolator f312

Box filters are MERV 11

Panel link filter is a 2 ply

Thank you for your participation,

Valerie Rhodes-Sorrelle, C.P.M.

Vendor Relations Manager

***Procurement Services - 2033 Zumberge Hall - Allendale, MI 49401***

***Phone – 616/331-2283 – Fax 616/331-3287***