September 26, 2017

Addendum I

Grand Valley State University (GVSU) has issued the following addendum to our request for proposal #218-09:

400 MHz shielded NMR spectrometer including:

- broadband probe with:

  - autotune capability

  - range from 31P to 109Ag

  - ability to acquire proton-decoupled 19F data

- at least 300 days between He fills

- gradient shimming

- autolock capability

- variable temperature capability with range from at least -150 oC to +150 oC, with liquid nitrogen dewar accessory

- 24-slot autosampler with 24 spinners

- vibration dampening table (or similar)

- PC workstation including monitor

- site license for processing software (or similar arrangement)

- liquid nitrogen and liquid helium transferring lines

- on site user training

- removal of GVSU’s existing 300 MHz NMR

- complete system installation and calibration of instrument

Bid Opening: Friday, October 6, 2017 @ 10:00 AM

Thank you for your participation,

Valerie Rhodes-Sorrelle, C.P.M.

Sr. Strategic Sourcing Specialist

Procurement Services - 2033 Zumberge Hall - Allendale, MI  49401

Phone – 616/331-2283 – Fax 616/331-3287