

September 26, 2017

**Addendum I**

Grand Valley State University (GVSU) has issued the following addendum to our request for proposal #218-09:

400 MHz shielded NMR spectrometer including:

* broadband probe with:
	+ autotune capability
	+ range from 31P to 109Ag
	+ ability to acquire proton-decoupled 19Fdata
* at least 300 days between He fills
* gradient shimming
* autolock capability
* variable temperature capability with range from at least -150 oC to +150 oC, with liquid nitrogen dewar accessory
* 24-slot autosampler with 24 spinners
* vibration dampening table (or similar)
* PC workstation including monitor
* site license for processing software (or similar arrangement)
* liquid nitrogen and liquid helium transferring lines
* on site user training
* removal of GVSU’s existing 300 MHz NMR
* complete system installation and calibration of instrument

Bid Opening: Friday, October 6, 2017 @ 10:00 AM

Thank you for your participation,

Valerie Rhodes-Sorrelle, C.P.M.

Sr. Strategic Sourcing Specialist

***Procurement Services - 2033 Zumberge Hall - Allendale, MI 49401***

***Phone – 616/331-2283 – Fax 616/331-3287***